July 31, 2001

Braithwaite Construction Co., Inc

General & Electrical Contractors

3013 E. St Bernard Hwy.

Meraux, LA. 70075

Attn:
Nikki Weber

Project Manager

RE: Fritchie Maintenance Barn

Mrs. Weber

After the meeting we had last week at the job site and found the steel columns to be installed, it is decided that we will have a meeting every Tuesday at 10.00 AM at the job site.  Please understand that Braithwaite Construction Co., Inc. must follow the plans and specifications to build the Fritchie Maintenance Barn.

All submittals must be sent to Dammon Engineering for review before installation.  If the building shop drawings had been submitted as required, the episode regarding wind bracing could have been avoided.  Please see that you coordinate with Dammon Engineering more closely in the future.  It will make the job run much smoother.

Sincerely,

Chuck Dammon

Project Manager

CC:
Sky Lala/St. Tammany Parish Maintenance

