June 6, 2001

Braithwaite Construction Co., Inc

General & Electrical Contractors

3013 E. St Bernard Hwy.

Meraux, LA. 70075

Attn: Nikki Weber/Project Manager

RE:
Fritchie Maintenance Barn   

Request for Information #1 - Dated 6/11/01

Mrs. Weber,

The 2x2 notch-out is only required to be in the office area slab. The depth of the footing for the stoop will remain the same. As far as the stoop needing dowels, it wouldn’t hurt to put a couple in there.

Sincerely,

Chuck Dammon

Project Manager

