June 18, 2001

Mr. Sky Lala

Parish of St. Tammany

P.O. Box 628

Covington, LA  70434

RE:
Fritchie Barn

Dear Sky,

The contractor, Braithwaite Construction, forwarded us a letter sent to them by Slone Construction, their subcontractor for the sewage treatment plant.  The letter states that an effluent reduction system is now required to be installed on the system at a cost of $665.00.  Slone said that their bid did not include the effluent reduction system.

I called Bryan Mistich, Engineer for the health department (871-1331) regarding this requirement.  Bryan is the person I had spoken to when we were designing the facility to establish the requirements.  Bryan told me this morning that the effluent reduction system is a new requirement, established by the legislature and adopted by the parish, for both commercial and residential treatment plants.  It evidently is just now being required.

In light of this requirement, I recommend that we allow a change order to cover the additional cost. 

Sincerely,

Chuck Dammon/Project Manager

Attachments:
Letter:  Slone to Braithwaite dated June 7, 2001.



Letter:
Braithwaite to Dammon Engineering dated June 11, 2001.



Acceptance Letter:
Braithwaite to Dammon Engineering dated June 14, 2001.

