May 22, 2003

Mr. Jamar Gardner

Office of State Fire Marshal 

Department of Public Safety and Corrections

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE:
Gambinos-PO247906

Dear Mr. Gardener,

I called your office today and they said you were out for the day. 

On November 7, 2002, You reviewed and approved our drawings for the above referenced project.  The building is currently under construction.  Before it was built, the owner decided to move the building 10’ back from the property line.  In doing this it eliminates the need for an exterior firewall along that side of the property line.  We are asking for your approval on this revision, eliminating the exterior firewall, as indicated on the attached sketch.  We are still installing a firewall between the office and warehouse area.

We asked the local Fire Marshal (Chris Kaufmann) to do a courtesy inspection.  He agreed that the firewall next to the property line could be eliminated.  He asked that we get approval from your office for his files so that when the final Fire Marshal inspection is called for this change will be on file. 

Please call me with any question you may have.

Thank you,

Chuck Dammon

VP/Project Manager

Attachment:
Sketch indicating change in firewall

