S.T.A.R.C. Daycare Facility

Addendum#2

July 31, 2001

To:
All Planholders of Record:


Mr. Pete Weiland/K.B. Kaufmann & Co., Inc.


Mr. Don Audibert/Design Contractors


Mr. Danny Brown/McMath Construction


Mr. David Champagne/Miramon Construction


Mr. Kevin McDonald/McDonald Construction, Inc.

Gentlemen:

Please incorporate the following changes into your proposal:

1. The parish has been granted a drainage easement by STARC to run along the western edge of the property.  With this easement, there is no longer a requirement for a retention pond or drainage ditch as shown on the drawings.  The drainpipe from the parking lot will drain directly to the drainage ditch the parish will dig in the easement.

2. The property will be cleared by others (National Guard).  The property will be de-stumped, but will require grubbing and removal of topsoil prior to filling.  The results of a soils analysis will be provided when it becomes available.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

EGD:clh

