S.T.A.R.C. Daycare Facility

Addendum#3

August 6, 2001

To:
All Planholders of Record:


Mr. Pete Weiland/K.B. Kaufmann & Co., Inc.


Mr. Don Audibert/Design Contractors


Mr. Danny Brown/McMath Construction


Mr. David Champagne/Miramon Construction


Mr. Kevin McDonald/McDonald Construction, Inc.

Gentlemen:

Please incorporate the following changes into plans for S.T.A.R.C. Daycare Facility:

1. Kitchen – provide lower cabinets only as shown on plans.

2. Kitchen pantry – provide wire shelving (white coated plastic).

3. Sensory Motor Room – provide lower cabinets as shown on plans.

4. Lunch Room – provide lower cabinets only as shown on plans.

5. Laundry Room – no shelving shall be provided.

6. Therapy Rooms – no shelving shall be provided.

7. Rooms 1,2,3, and 4 – the drawings show changing tables and storage units, these will be provided by owner for contractor to install.

8. CLECO will provide the parking lot lighting shown on plans.

9. No irrigation system shall be required.

10. The landscaping requirements are on the drawings and will be submitted as per plans.

11. The secretary’s office shall have a horizontal sliding window and will be clear glass.

Attached is the Fire Marshal’s review letter.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

EGD:clh

cc:
Steve Duvernay

