S.T.A.R.C. Daycare Facility

Addendum #4

August 13, 2001

To:
All Planholders of Record:


Mr. Pete Weiland/K.B. Kaufmann & Co., Inc.


Mr. Don Audibert/Design Contractors


Mr. Danny Brown/McMath Construction


Mr. Kevin McDonald/McDonald Construction, Inc.

1. Delete the requirement for a grease trap.  There will be no cooking at this facility.

2. Underground drain pipe shall be PVC, 8” where serving single catch basin.  All others shall be 12”.

3. Catch basins shall be equal to SCI precast #2448, 24”x 24”x depth required, with cast iron frame and grate, Dews Foundry No. 2626.  Invert of drain pipe shall be a minimum six inches above base of chamber.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

EGD:clh

cc:
Steve Duvernay

