S.T.A.R.C. Daycare Facility

Addendum #5

August 21, 2001

To:
All Planholders of Record:


Mr. Pete Weiland/K.B. Kaufmann & Co., Inc.


Mr. Don Audibert/Design Contractors


Mr. Danny Brown/McMath Construction


Mr. Kevin McDonald/McDonald Construction, Inc.

Gentlemen:

The following changes should be made:

1. Add windows to rooms #8 & #6 on the backside of the building; two in room #8, two in room #6.

2. Move outside A/C units to west side of building.

3. Add sprinklers to building.  To be installed by Jefferson Sprinkler.

4. All bathrooms will have locks.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

EGD:clh

cc:
Steve Duvernay

