S.T.A.R.C. Daycare Facility

Addendum #7

August 28, 2001

To:
All Planholders of Record:


Mr. Pete Weiland/K.B. Kaufmann & Co., Inc.


Mr. Don Audibert/Design Contractors


Mr. Danny Brown/McMath Construction


Mr. Kevin McDonald/McDonald Construction, Inc.


Mr. Tim Fandel/Masterworks Construction

Gentlemen:

Please incorporate the following changes into your proposal:

1. The following changes are the result of providing a sprinkler system for the facility.  The rating will be type VI, unprotected, sprinkled.

a. Delete requirement for draft stops in the attic.

b. Delete requirement for one hour rated hallways.

c. Delete requirement for 20 minute rated doors in hallways.

d. Delete requirements for fire treated wood.

2. Provide the services of an approved fire alarm installation company to design, provide and install the minimum required fire/smoke detection and alarm system for the building, including required interface with the supervised sprinkler system for both the main floor and attic if required.

3. Provide engraved signage on all interior doors with white on black phenolic material.  Consult owner for names.  Letters shall be 1” high.  Provide plaque at entrance with S.T.A.R.C. board member’s names, contractor and architect/engineer’s name.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

EGD:clh

cc:
Steve Duvernay

