S.T.A.R.C. Daycare Facility

Addendum #8

September 5, 2001

To:
All Planholders of Record:


Mr. Pete Weiland/K.B. Kaufmann & Co., Inc.


Mr. Don Audibert/Design Contractors


Mr. Danny Brown/McMath Construction


Mr. Kevin McDonald/McDonald Construction, Inc.


Mr. Tim Fandel/Masterworks Construction

Gentlemen:

Please incorporate the following changes into your bid:

1. Addendum #7, item 3 provided for a plaque to be installed at the entrance.  Allow $500.00 for the cost of the plaque.

2. The two dishwashers shown in the kitchen are included in the construction contract.

3. A soils analysis has been ordered.  The results will be furnished to the successful bidder.

4. The drawings are presently at the Fire Marshal’s office being re-reviewed regarding the sprinkler system.  A copy of the review letter will be given to the successful bidder, prior to signing a contract.

5. The time of the contract (see addendum #1) is 180 days.  Eighteen (18) rain days will be allowed in addition to the 180 days.

6. The 180-day construction period will begin after the contract is signed, and will be noted by a notice to proceed letter.  The start date will also follow completion of clearing of the property.

7. The contractor shall include in his bid, one each sewage lift station, installed and operating.  The lift station shall have duplex grinders and shall be capable of 50 gpm at 22 ft. lift.  Final requirements will be available from the utility company.

8. Addendum #1 provided for a $50.00 per day liquidated damage fee.  This will be part of the base bid.  Provide the cost of increasing this fee to $500.00/per day, as an additive alternate stated separately.

9. The electric power provider, as stated in addendum #3, was to be Cleco.  We have been advised that the electric provider is Washington St. Tammany Electric COOP.

10. The parking lot lighting shown on the plans will be furnished and installed by the contractor as part of the base bid.  Provide an alternate deduction to the contract, if the parking lot lighting system (poles, fixtures and wiring) is furnished and installed by others.

11. The bid form shall be as shown on the attachment to this addendum.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Attachment: 
Bid Form

EGD:clh

cc:
Steve Duvernay

