S.T.A.R.C.

St. Tammany West Day Care Center

St. Tammany Association of Retarded Citizens

To:
Selected Bidders:

Design Contractors


McMath Construction


Miramon Construction


K.B. Kaufmann & Co, Inc.


McDonald Construction, Inc.

Gentlemen:

Your firm has been selected to bid on the construction of a new daycare facility being constructed by S.T.A.R.C., on Viola Street, north of Mandeville.  Bids will be received by Dammon Engineering no later than 4:30 p.m., Friday, August 24th.

I. The set of plans being provided to you is intended to represent a complete and operational facility.  In addition, the following shall be furnished:

II. Restrooms:

Each Shall be Provided With:

1.
Liquid soap dispenser.

2.
Toilet tissue holder

3.
Sanitary napkin holder

4.
Trash receptacle

III. Kitchen:

1. One each four burner electric range with oven, allow $600.00

2. One microwave oven, 2 cubic ft. capacity, allow $400.00

IV. Lunch Room:

1.
Provide one microwave oven, 2 cubic ft. capacity, allow $400.00
Allowances:

1.
Carpet:       Allow fifteen dollars ($15.00) per square yard,

       installed. Owner to select colors.

2.
Floor tile:   Allow fifteen dollars ($15.00) per square yard, 

       installed.  Owner to select colors.

Contract:

A standard AIA contract shall be used for the project.  The AIA general conditions, as well as the 16 technical sections, are made part of the contract by reference.

Utilities:

Both sewer and water are available.  The provider is Southeastern Louisiana Water & Sewer.  The contractor shall pay all costs associated with connection to the system.  Provide a 1 ½” main from the building to the existing service, with shut off valves, and with a back flow preventer, if required by the service, or St. Tammany Parish.
Please provide written (faxed) questions to Dammon Engineering (641-5950).  An addendum will be issued listing the questions and answers to all bidders.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

EGD:clh

