January 29, 2003

Mr. Steve Duvernay

S.T.A.R.C.

1541 St. Ann Place

Slidell, Louisiana  70460

RE:
S.T.A.R.C.

A/C in two rooms in southwestern corner of building

Dear Steve,

Last summer your operations people reported that the referenced rooms were too hot, and during the extreme cold of the last few days, they have reportedly found the rooms to be too cold.

Because Slidell Refrigeration now tells me that they never did make the recommended changes to the air flow for cooling, and now we have the same problem with heating, I feel that it would not be proper to alter the unit.  We should install an independent unit to heat and cool these two rooms, using the ductwork that is in place.

To that end, I have asked Slidell Refrigeration for a total price (including electrical, etc.) to install a new unit of 2.5 ton capacity for these rooms.  I will forward this information to you as soon as I receive it.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

cc:
Danny Brown/McMath Construction

