January 27, 2005

Mr. John Cramer

City of Slidell

2055 Second Street

Slidell, Louisiana  70458

RE:
Slidell Textron Site
Dear Mr. Cramer,

The contractor at the site has completed concrete forming for the new bathroom on the southwest corner of the building.  The footings are 18” deep and 12” wide.  We feel that with the existing sub grade material it is sufficient to support the load of this foundation.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

