January 7, 2005

Mr. Donald Simmons

Entergy Corporation

3700 Tulane Ave.

L-TUL-105

New Orleans, LA  70119

RE:
New Gas Service for Textron Marine at


19505 Chef Menteur Hwy., New Orleans, La.

Dear Mr. Simmons

This letter is to confirm that each of the four paint booths being installed require 29” to 5 lbs. gas pressure, 2,592,000 BTU/Hr., natural gas @ 80°F temperature rise.

I would appreciate you calling me to confirm that your meter and pressure reducer will supply this gas at 3 lbs. pressure, and that at a distance of 400 ft., (including equivalent length for fittings) what size pipe we need to supply the four units simultaneously (10,368 CFM) and if we only run two booths at a time (5,184 CFM) the size of the pipe for the same length.

Thank you,

Emmett G. (Pete) Dammon, P.E.

