February 15, 2005

Mr. Mark Canal

McDonald Construction

P.O. Box 5129

Slidell, LA  70469

RE:
Textron Marine and Land Systems


Slidell Location

Dear Mr. Canal,

For the 3-hour fire wall using GA File No. WP7421, the rule states to use 2 ¼” studs.  It is recommended that you use 6” studs for this application.  I also spoke with Mr. Kurt Pichon with the City of Slidell and he concurs with this recommendation.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Chuck Dammon

