SECTION 01010

SUMMARY OF WORK
C. Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.
1 PART 1 General 

1.1 SECTION INCLUDES

A. Existing Conditions

A. Owner occupancy
D.      Safety
D.

Reference to General Conditions.
B. EXISTING CONDITIONS

C. The work is to be accomplished at the Woodson Middle school, 2415 Third Street, New Orleans LA  

D. SPECIFIC PROJECTS

E. Install a new suspended ceiling in the auditorium.  Install new lighting systems in auditorium.  Clean and evaluate stage lighting system.

F. Install new HVAC system in Gymnasium.  Roof top units will be installed with new hot water heating coils in the supply duct.

G. Install three (3) new concrete pads and security fence around three (3) units installed at grade.  Install roof curb to support unites located on roof.

H. Demolish existing Fire alarm system and install new

I. Smoke Detectors and Fire Alarm system for the school.

1.2 Demolish existing P.A. (communications) system and install new system for the school.

J. Replace incandescent light fixtures in hallways, with fluorescent fixtures.


1.3 OWNER OCCUPANCY

1.4 The owner will occupy the premises during the progress of the work.  The contractor shall provide work schedules that the school can work around. To avoid work being accomplished in a room, while occupied by students or faculty.
1.5 SAFETY

The contractor shall make all necessary efforts to assure that the work of the contract is carried out in such a manner as to assure the safety of his workman, the owners employees and students, and others who are in the area.





END OF SECTION
1
1

