
SECTION 01700PRIVATE 


CONTRACT CLOSEOUT
A. Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.
1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Closeout procedures.



B.
Final cleaning.



C.
Adjusting.



D.
Project record documents.



E.
Operation and maintenance data.



F.
Warranties.



G.
Spare parts and maintenance materials.


.2

RELATED SECTIONS

B. Section 01740 ‑ Warranties and Bonds.

b.
Reference of General Conditions.


.3

CLOSEOUT PROCEDURES



A.
Submit written certification that Contract Documents have been reviewed, Work has been inspected, and that Work is complete in accordance with Contract Documents and ready for Architect/Engineer's inspection.



B.
Provide submittals to Architect/Engineer that are required by governing or other authorities.



C.
Submit final Application for Payment identifying total adjusted Contract Sum, previous payments, and sum remaining due.



D.
Owner will occupy all portions of the building as specified.


.4

FINAL CLEANING





A.
Execute final cleaning prior to final inspection.



B.
Clean interior and exterior glass and surfaces exposed to view; remove temporary labels, stains and foreign substances, polish transparent and glossy surfaces, vacuum carpeted and soft surfaces where contractor has worked.



C.
Remove waste and surplus materials, rubbish, and construction facilities from the site. Restore lawn and planting areas to quality if pre-construction.


.5

PROJECT RECORD DOCUMENTS



A.
Maintain on site, one set of the following record documents; record actual revisions to the Work:




1.
Contract Drawings.




2.
Specifications.




3.
Addenda.




4.
Change Orders and other Modifications to the Contract.




5.
Reviewed shop drawings, product data, and samples.



B.
Store Record Documents separate from documents used for construction.



C.
Record information concurrent with construction progress.



D.
Specifications: Legibly mark and record at each Product section description of actual Products installed, including the following:




1.
Manufacturer's name and product model and number.




2.
Product substitutions or alternates utilized.




3.
Changes made by Addenda and Modifications.



E.
Record Documents and Shop Drawings: Legibly mark each item to record actual construction including:





1.
Field changes of dimension and detail.

2. Details not on original Contract Drawings.


.7

OPERATION AND MAINTENANCE DATA



A.
Submit three 3 sets prior to final inspection, bound in 8‑1/2 x 11-inch text pages, three D side ring binders with durable covers.



B.
Prepare binder covers with printed title "OPERATION AND MAINTENANCE INSTRUCTIONS", title of project, and subject matter of binder when multiple binders are required.



C.
Internally subdivide the binder contents with permanent page dividers, logically organized as described below; with tab titling clearly printed under reinforced laminated plastic tabs.



D.
Project documents and certificates, including the following:




1.
Shop drawings and product data.




2.  Certificates.




3.
Photocopies of warranties.




E. Submit final volumes revised, within ten days after final inspection.


.8

WARRANTIES



A.
Provide duplicate notarized copies.



B.
Execute and assemble documents from Subcontractors, suppliers, and manufacturers.



C.
Provide Table of Contents and assemble in THREE-D side ring binder with durable cover.



D.
Submit prior to final Application for Payment.



E.
For items of Work delayed beyond date of Substantial Completion, provide updated submittal within ten days after acceptance, listing date of acceptance as start of warranty period.


END OF SECTION
1
1
Error! Main Document Only.

