
SECTION 03732PRIVATE 


CONCRETE REPAIR

1 PART 1   GENERAL


.1
SECTION INCLUDES



A.
Preparation of concrete and application of repair materials.



B.
Repair of concrete internal reinforcement.


.2

seq level2 \h \r0 
RELATED SECTIONS



A.
Section 03300 ‑ Cast‑In‑Place Concrete.


.3

seq level2 \h \r0 
REFERENCES



A.
ANSI/ASTM C404 ‑ Aggregates for Masonry Grouts.



B.
ANSI/ASTM C882 ‑ Bond Strength of Epoxy‑Resin Systems Used with Concrete.



C.
ANSI/AWS D1.4 ‑ Structural Welding Code for Reinforcing Steel.



D.
ASTM A82 ‑ Cold‑Drawn Steel Wire for Concrete Reinforcement.



E.
ASTM A615 ‑ Deformed and Plain Billet‑Steel Bars for Concrete Reinforcement.



F.
ASTM A616 ‑ Rail‑Steel Deformed and Plain Bars for Concrete Reinforcement.



G.
ASTM A617 ‑ Axle‑Steel Deformed and Plain Bars for Concrete Reinforcement.



H.
ASTM C33 ‑ Concrete Aggregates.



I.
ASTM C150 ‑ Portland Cement.



J.
ASTM D638 ‑ Tensile Properties of Plastics.



K.
ASTM D695 ‑ Compressive Properties of Rigid Plastics.



L.
ASTM D790 ‑ Flexural Properties of Unreinforced and Reinforced Plastics and Electrical Insulating Materials.


.4

seq level2 \h \r0 
SUBMITTALS



A.
Submit product data under provisions of Section 01300. 



B.
Submit product data indicating product standards, physical and chemical characteristics, technical specifications, limitations, maintenance instructions, and general recommendations regarding each material.



C.
Submit manufacturer's installation instructions under provisions of Section 01300.


.5

seq level2 \h \r0 
PROJECT RECORD DOCUMENTS



A.
Accurately record actual locations of structural reinforcement repairs, type of repair.


.6

seq level2 \h \r0 
QUALITY ASSURANCE



A.
Materials Manufacturer: Company specializing in manufacturing the products specified in this Section with minimum three years documented experience.



B.
Applicator: Company specializing in concrete repair with minimum three years documented experience, approved by materials manufacturer.



C.
Design reinforcement splices under direct supervision of a Professional Structural Engineer experienced in design of this work and licensed at the place where the Project is located. 



D.
Welding: ANSI/AWS D1.4.


.7
seq level2 \h \r0 

DELIVERY, STORAGE, AND HANDLING



A.
Deliver products to site under provisions of Section 01600. 



B.
Store and protect products under provisions of Section 01600.



C.
Comply with instructions for storage, shelf life limitations, and handling.

2

seq level1 \h \r0 

seq level2 \h \r0  PART 2   PRODUCTS


.1
seq level2 \h \r0 

PATCHING MATERIALS



A.
Epoxy Resin: Two‑part epoxy adhesive containing 100 percent solids, meeting the following minimum characteristics:



Characteristic


Test_Method
  
Results


Bond Strength



ANSI/ASTM C882
2,700 psi



Tensile Strength


ASTM D638

6,600 psi



Elongation



ASTM D638

2 percent









at 7 days at 70 degrees F









(21 degrees C)



Flexural Strength


ASTM D790

8,000 psi



Compressive Strength

ASTM D695

6,500 psi



B.
Bonding Agent: Polyvinyl acetate emulsion, dispersed in water while mixing, non‑coagulant in mix, water resistant when cured.



C.
Portland Cement: ASTM C150, Type as selected.



D.
Sand: ASTM C33; uniformly graded, clean.



E.
Water: Clean and potable.



F.
Cleaning Agent: Commercial muriatic acid.


.1

seq level2 \h \r0 
REINFORCEMENT MATERIALS



A.
Reinforcing Steel: ASTM A615, 40 ksi yield grade billet‑steel deformed bars.

3

seq level1 \h \r0 

seq level2 \h \r0  PART 3   EXECUTION


.1
EXAMINATION



A.
Verify that surfaces are ready to receive work.



B.
Beginning of installation means installer accepts existing surfaces.


.2

seq level2 \h \r0 
PREPARATION



A.
Clean concrete surfaces of dirt, laitance, corrosion, or other contamination; wire brush using water. Rinse surface and allow to dry.



B.
Flush out cracks and voids with muriatic acid to remove laitance and dirt. Chemically neutralize by rinsing with water.



C.
Provide temporary entry ports spaced to accomplish movement of fluids between ports, no deeper than the depth of the crack to be filled.  Limit port size diameter to be no greater than the thickness of the crack.  Provide temporary seal at concrete surface to prevent leakage of adhesive.



D.
For areas patched with epoxy mortar, remove broken and soft concrete 1/4 inch (6 mm) deep. Remove corrosion from steel.  Clean surfaces mechanically; wash with acid and rinse with water.


.3

seq level2 \h \r0 
REPAIR WORK



A.
Repair exposed structural, shrinkage, and settlement cracks of concrete as indicated on Drawings by the epoxy injection bonding agent and cementitious paste method.



B.
Repair spalling.  Fill voids flush with surface. Apply surface finish.



C.
Repair reinforcement by welding new bar reinforcement to existing reinforcement. 


.4

seq level2 \h \r0 
INJECTION ‑ EPOXY RESIN ADHESIVE



A.
Inject adhesive into prepared ports under pressure using equipment appropriate for particular application.



B.
Begin injection at lower entry port and continue until adhesive appears in adjacent entry port.  Continue from port to port until entire crack is filled.



C.
Remove temporary seal and excessive adhesive.



D.
Clean surfaces adjacent to repair and blend finish.


.5

seq level2 \h \r0 
FIELD QUALITY CONTROL



A.
Field inspection and testing will be performed under provisions of Section General Conditions.



B.
Test concrete for calcium chloride content during the execution of the Work.


.6

seq level2 \h \r0 
SCHEDULE



A.
North End of Existing Retaining Wall: Epoxy mortar with 




smooth trowel finish.



B.
Cracked East Basement Wall: Epoxy resin injection, roughened surface finish to match adjacent work.


END OF SECTION

PAGE  
3

