Twin Oaks

Hattiesburg, Mississippi
Bldg. #1

1) Fire-caulk all electrical penetrations.

2) Fill tub boxes under all tubs located on the first floor.

3) Fire dampers need to be installed in all vents for the bathrooms.

4) All aluminum power leads to panels need to be coated with the oxidizer compound.

5) Complete insulation in all walls.

6) Install metal bands on all vent & sewer stacks.

7) All third floor can lights in kitchen must be in a rated light fixture.

8) All water heater pop-off drain lines need to be connected to the main drain instead of tying into the overflow drain.

Bldg. #2

1) Fire-caulk all electrical penetrations.

2) Fill tub boxes under all tubs located on the first floor.

3) Fire dampers need to be installed in all vents for the bathrooms.

4) All aluminum power leads to panels need to be coated with the oxidizer compound.

5) Complete insulation in all walls.

6) Install metal bands on all vent & sewer stacks.

7) All third floor can lights in kitchen must be in a rated light fixture.

8) All water heater pop-off drain lines need to be connected to the main drain instead of

      tying into the overflow drain.

Bldg. #3

1) Fire-caulk all electrical penetrations.

2) Fill tub boxes under all tubs located on the first floor.

3) Fire dampers need to be installed in all vents for the bathrooms.

4) All aluminum power leads to panels need to be coated with the oxidizer compound.

5) Complete insulation in all walls.

6) Install metal bands on all vent & sewer stacks.

7) All third floor can lights in kitchen must be in a rated light fixture.

8) All water heater pop-off drain lines need to be connected to the main drain instead of

      tying into the overflow drain.

9)   The roof is leaking in the front right utility room on the third floor.

Bldg. #4

1) Fire-caulk all electrical penetrations.

2) Fill tub boxes under all tubs located on the first floor.

3) Fire dampers need to be installed in all vents for the bathrooms.

4) All aluminum power leads to panels need to be coated with the oxidizer compound.

5) Complete insulation in all walls.

6) Install metal bands on all vent & sewer stacks.

7) All third floor can lights in kitchen must be in a rated light fixture.

8) All water heater pop-off drain lines need to be connected to the main drain instead of

      tying into the overflow drain.
9)
The roof is leaking in the front right bedroom on the third floor.
