Twin Oaks

1) Bldg. #6
2) Fire-caulk all alarm and cable wire penetrations through wood.  Some electrical and piping also needs to be checked for total sealant. 
3) Fill all tub boxes under tubs.
4) Fire dampers need to be installed in all vents for the bathrooms.
5) Install straps on all vent & sewer stacks.
6) All third floor can lights in kitchen must be in a rated light fixture.
7) Kill all mold found on ceiling joist and stud walls.
8) Some aluminum power leads to panels need to be coated with the oxidizer compound.
1) Bldg. #7

2) Fire-caulk all alarm and cable wire penetrations through wood. Some electrical and piping also needs to be checked for total sealant. 
3) Fill all tub boxes under tubs.

4) Fire dampers need to be installed in all vents for the bathrooms.

5) Install straps on all vent & sewer stacks.

6) All third floor can lights in kitchen must be in a rated light fixture.

7) Kill all mold found on ceiling joist and stud walls.

8) Some aluminum power leads to panels need to be coated with the oxidizer compound.

