Twin Oaks

Hattiesburg, Mississippi

Date of Inspection:
March 12, 2004

Twin Oaks

Building #18

(reinspection)
1) Building No. 18 was re-inspected and found to be in compliance.

Building #17

2) 1)   Install insulation

3) Install hat channel and sheetrock ceiling and walls

4) Install smoke detectors

5) Hook up A/C units
6) Complete soffit and fascia

7) Complete stairs and railings

8) Complete exterior painting

1) Building #22

2) Complete water heater drains

3) Close all holes in sheetrock going through walls between units

4) Seal all holes around tub drain

5) Install insulation

6) Install hat channel and sheetrock ceilings and walls

7) Complete soffit and fascia

8) Complete stairs and handrails

___________________________
Date:
____________________


Chuck Dammon

         VP/Project Manager

