Building A:

1. Replace (3) lower window casings and stud framing below.  27 s.f.

Building B:

1. Replace (1) lower window casing and stud framing below.  9 s.f.

2. Replace framing at corner.  32 s.f.

Building C:

1. Replace (1) lower window casing and stud framing below.  9 s.f.

2. Replace framing at (2) corners.  64 s.f.

Building D:

1. Replace (1) lower window casing and stud framing below.  32 s.f.

Building E:

1. Replace wall section framing (4) areas.  275 s.f.

Building F:

1. Replace (3) lower window casings and stud framing below.  27 s.f.

2. Replace frame in chimney – both sides.  350 s.f.

Building G:

1. Replace (2) lower window casings and stud framing below.  72 s.f.

2. Replace (2) areas of corner framing and studs.  150 s.f.

3. Replace wall section framing.  32 s.f.

4. Replace wall framing for (3) chimneys.  972 s.f.

Building J:

1. Replace (1) lower window casing and stud framing below.  10 s.f.

2. Replace wall framing for (3) chimneys.  972 s.f.

Building K:

1. Replace bottom of chimney and frame. 120 s.f.

2. Replace (2) areas of corner framing.  32 s.f.

Building L:

1. Replace wall framing for chimney (near roof).  120 s.f.

2. Replace (2) areas of corner framing.  64 s.f.

3. Replace bottom 20 ft. of chimney.  240 s.f.

Building M:

1. Replace (1) lower window casing and stud framing below.  10 s.f.

1. Building N:

2. Replace (1) lower window casing and stud framing below.

3. Replace bottom section of chimney.  72 s.f.

Building P:

1. Replace (2) lower window casings and stud framing below.  24 s.f.

2. Replace bottom (3) ft. of corner and framing.  24 s.f.

3. Replace side panel of chimney.  36 s.f.

Building Q:

1. Replace bottom (3) ft. of corner and framing.  32 s.f.

Building R:

1. Replace (3) lower window casings and stud framing below.  36 s.f.

2. Replace chimney section with framing.  550 s.f.

Building S:

1. Replace bottom (5) ft. of corner.  216 s.f.

Building T:

1. Replace (3) lower window casings and stud framing below.  40 s.f.

2. Replace corner framing.  12 s.f.

3. Replace chimney side section.  135 s.f.

4. Replace (2) chimney top sections to roof.  220 s.f.

5. Replace side panel.  32 s.f.

Building U:

1. Replace (4) lower window casings and stud framing below.  60 s.f.

2. Replace (1) bottom section of chimney.  96 s.f.

3. Replace (2) chimney frames.  324 s.f.

4. Replace (3) chimney bottom sections.  96 s.f.

Building V:

1. Replace (3) bottom sections of chimney at building connection.  96 s.f.

Building W:

1. Replace bottom (5) ft. of corner.  20 s.f.

Building X:

1. Replace (1) lower window casing and stud framing below.  15 s.f.

2. Replace (2) sections of chimney.  36 s.f.

3. Replace (3) chimney connections to building.  324 s.f.

Building Y:

1. Replace (1) lower window casing and stud framing below.  14 s.f.

2. Replace wall section and framing.  16 s.f.

3. Replace (2) chimney connections to roof.  96 s.f.

4. Replace (3) chimney bottom sections.  96 s.f.

Building Z:

1. Replace (1) lower window casing and stud framing below.  16 s.f.

2. Replace (2) wall sections 9’x18’ and framing.  162 s.f.

3. Replace (1) chimney cap.  2 s.f.

Building AA:

1. Replace (1) lower window casing and stud framing below.  14 s.f.

Building BB:

1. Replace (3) lower window casings and stud framing below.  42 s.f.

2. Replace bottom (5) ft. of corner and frame.  20 s.f.

3. Replace wall section.  18 s.f.

4. Replace (3) chimney areas at building connection.  430 s.f.

Note:
Remove siding back to next stud that is in good condition.  Remove and/or replace studs from outside.  Re-install siding in same location as before.

