January 18, 2005

TO:
All Plan Holders

RE:
Oakmont Office Building

The following clarifications are made for drawings.
1. The columns are W8 x 31.  Column base plates shall be placed on top of the pile cap.  (Block out floor for base plate and grout when complete.

2. Roof load (D.L. =20 psf; L.L. =20 psf; T.L. = 40 psf)
3. 2nd floor load (D.L. =70 psf; L.L. =50 psf; T.L. =120 psf).

Product Information:

Exterior Glass Walls – “Vista Wall”

Brian Spreen

972-551-6100

Glass – Slidell Glass

Metal Exterior Walls – “Alpy”

Internet

ssamson@alpy.com
