DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS

1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

NURSING HOME EMERGENCY PREPAREDNESS
Date:
February 20, 2009
Colonial Oaks Living Center

Building Components

· Total square footage – approximately 28,000
· Building Type – flat roof design, torch down, single ply

· Totally enclosed

· Wood frame – brick veneer

· Interior – Gypsum Board

· Windows – single pane with astragals, assume ¼” glass annealed glass – 43.9 lbs. per s.f. equates to approximately 130 mph wind.

· Store Front & Doors (glass) – assume ¼” tempered glass rated for approximately 262 mph.

· Exterior Walls – brick veneer attachment to structure under old code was not as rigid, but building suffered no damage to brick veneer during Hurricane Katrina’s winds of over 140 mph in gusts.  Again, this building built to meet 110 mph minimum, but has stood up to 140 mph gusts in Hurricane Katrina

· Roof System – suffered moderate damage during Hurricane Katrina, with water entering building from roof, and from inadequate drainage of water after.  This has been repaired and drainage has been re-routed to increase worthiness.

The roof should now withstand 130 mph winds.

Therefore:
#3, Answer – Yes

#3a, 130 mph

#3b, 130 mph

#3c, Knowledge of both Southern (Standard) Building Code and International New and Existing Building Codes, the Southern Building Code in force during period of building construction of this facility, over forty years experience as Professional Engineer, my experience in performing over 500 damage reports on Hurricane damaged buildings.

#d, Windows have no protection (no plywood covers).
#e, These items have been covered.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
La. License #8796
