December 23, 2003

TO:
Inspection Department


Jefferson Parish, Louisiana

RE:
Lot 11, Sq. 5 Pontchartrain Shores


Jefferson Parish, Louisiana

To Whom It May Concern:

Subsequent to Mr. Abedali’s plumber cutting holes in the TGI trusses to install a pipe, Mr. Abedali proposes to install a 2x10 truss spanning above the hole, spanning from wall to wall, strengthening the truss.  Nailing will be on 12” center with 12D common nails.

I concur with this arrangement, as the added strength of this arrangement exceeds that of the uncut truss.

This problem occurs on both the 1st and 2nd floors.

Also, on the 1st floor, the plumber cut the top plate of the wall, leaving the side of the plate open.  This must be addressed by installing a flat metal plate that spans the hole, nailing the metal plate to the side of the wood top plate.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

