July 20, 2006

Mr. John Cramer

Building Inspector

City of Slidell

2055 Second St.

Slidell, LA  70458 

RE:
Kerling Residence


Lot #14, Yester Oaks S/D


Slidell, Louisiana

Dear Mr. Cramer,

I have reviewed the difference in the foundation details that Mr. Bobby Creel installed for the referenced project, and the one designed by me and used to acquire the permit.

The following changes must be made to allow the substitution.

1. Add two additional #5 bars to the top of each footing as shown on section “A” and “B” of drawing S-1, and add #5 bars @ 24” on center, each way above the 10 gauge wire used in the slab.

2. Slab and footings shall be poured as a monolithic pour.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
La. License No. 8796
