DAMMON ENGINEERING, INC.
dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

March 8, 2007
ADDENDUM
Mr. Brian Reine

IGC, LLC

130 W. Howze Beach Road

Slidell, Louisiana  70458

RE:
Addendum No. 1

Sun Valley Phase II
Dear Mr. Reine,

Please note that the following changes are being made to the plans for the above referenced project:
1. Add one GFI receptacle to exterior of each building within 25 feet of each outside A/C unit.

2. Add one GFI receptacle to exterior of each building near the entrance of each apartment, first and second floor.
3. Add smoke detector to each bedroom.

Receipt Acknowledged:
____________________________


________________



             Brian Reine





Date

Sincerely,

Emmett G. (Pete) Dammon, P.E.

