DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS

1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

February 24, 2010
Mr. David Rimmer
RCI

894 Robert Blvd.

Slidell, LA  70458

RE:
Armed Forces Pool

Mr. Rimmer,

In response to your email dated February 23, 2010, please note the following:

We understand that due to site conditions the pipe located under the pool can only be located at a depth of 12”.

It is acceptable that you cover the pipe located under the pool with 12” of sand in lieu of the 24” called out for in the specifications, as long as the sand is still compacted according to the specifications.

If you have any questions, please feel free to call.

Sincerely,

Emmett G. Dammon
La. License No. 8796

