May 1, 2007

Mr. Edwin Lee
Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA  70806

RE:
PO295058


Platform Crane

Dear Mr. Lee:

The purpose of this letter is to request a variance for the upstairs bathroom, which is for the private use of the senior executives of the company.  This facility is a two-story building that does not have an elevator.  The bathrooms downstairs are all handicap accessible with one men’s restroom and one women’s restroom that incorporates a handicap shower respectively.

Our variance request is to relax the handicap requirement for the shower in this one private bathroom that is shared between two executive offices.  The toilet and vanity will remain handicap accessible.  The associated women’s restroom on the second floor will become a unisex bathroom and will remain handicap accessible.

If you have any questions, or require any additional information, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

