[image: image1.jpg]6@

Addendum to Property Inspection Response

Subject Property: 554 Old Spanish Trail Agreement to Purchase: 02-19-09

This is to advise that the applicable inspection(s) allowed by the agreement to purchase
the above property haﬁ been made.

The following Deficiencies were noted:

Unit A - No hot water heater Install
Unit B - Needs to complete touch up paint Complete
0(/ Front door Casing installation incomplete Complete
V& Outside light fixture broken Replace
M Unit C - Newer water heater - not working possible electrical problem Repair
— Light to main office located in bathroom Cewoi e
Front door Casing installation incomplete Complete
Unit D - Hot water heater not working Replace
Unit E — No Hot water heater Install

d

Steps to attic latter broken e Replace
3 X 3 vent on east side of buil(,{ing damaged Replace
No attic light fixture — exposejwire hanging lose Install/replace
Front door casing installation incomplete Complete
Unit F — Hot water heater not working __———~__ Replace
No Stair case canopw K BT Sipe D Repair
Purchaser: Date:
Purchaser: Date:
Seller: Date:
Seller: Date:

@ty odlilisany Phatfpre Lo wagu%%




