[image: image1.jpg]Addendum # 01 «ﬁ{/

Solicitation # 2231042 v [0
File # P 27320 DL W\M

Bid Opening: Eebruarf47, 2009 at 10:00 A.M.

Bid Opening Extended to now open on March 10, 2009 at 10:00 A.M.

(Add)

The Boiler package furnished must have two ea. Feed-water pumps, with a secondary
manifold and valves to Boiler, mounted on the skid.

2. (Add)
Provide and install a 2” pipe manifold on the suction side of the three existing feed water
pumps, between the pumps and the feed water Aeration tank. Provide one hand valve in

each of the three connections, and one in the new 2” suction line to the new Boiler. The
new Boiler shall not require a new Aeration Tank.

3. (Delete)
Article 2.5, Section 15100, - Blow-off Separator
Delete article 2.5 in it's entirety.

Blow down from new Boiler shall be piped to the existing Blow-off Separator in Boiler
House.

On Page 12:
Delete all information.
On Page 85, Specification 15100--5, Section 3.2 C:

Now Reads:

The pressure vessel shall have a 10 year (120 month) material and workmanship
warranty, when furnished as part of the pre-piped system. All other components shall be
covered by a one year (12month) warranty.

Should Read:

The pressure vessel shall have a 10 year (120 month) material and workmanship
warranty, when furnished as part of the pre-piped system. All other components shall be
covered by a one year (12month) warranty. All warranties shall cover parts and labor.

End of Addendum # 01




