	[image: image1.png]



	Change Order 3
           SCENARIO ONE

	GULF COAST ELECTRIC CO. LLC
Serving the Gulf Coast
	

	554 Old Spanish Trail, SLIDELL, LA 70458
Phone 985-649-5832 Fax 985-641-5950
gulfcoastelect@bellsouth.net
	      LA License 46737


	to
	Gill Breaux
Commercial Project Manager

Robert Wolf Construction

504-393-2445


	RE: Bippo’s Place Of Smiles
      2960 Gause Blvd
      Slidell, La 

	DATE
	job Description
	Location

	09/27/13
	3ph Power 
	


	item 
	
	description
	
	
	line total

	1
	
	Provide 3ph power to existing and new buildings.
	
	
	

	2
	
	Included are 800A 3ph panel, 3ph breakers. CT can, conduit and wire, transformer pad grounding, Two 4” conduits from new transformer pad tie into existing 4’ Conduit, 3 ph wire new A/C. All labor and taxes. Excavator
	
	
	

	3
	
	
	Sub Total
	
	$14,989.00

	4
	
	
	
	
	

	5
	
	
	
	
	

	6
	
	
	
	
	

	7
	
	ESTIMATED ADDITIONAL EXPENSES
	
	
	

	8
	
	Additional expenses from WST will be to run new 3 phase power from the pole to the new transformer and pull out the existing wire to the bldg and pull new wire for 3 phase power.
	
	Estimated expenses
	$4800.00

	9
	
	Additional expense for concrete pad by GC
	
	Estimated
	$2,000.00

	10
	
	
	
	
	

	11
	
	
	
	
	

	12
	
	
	
	
	

	
	 
	


Note, this scenario is based on installing the new 800A 3ph panel and CT metering on the new building and sub feeding the existing 1PH 400A panel from the new panel. This will allow for the 7 ½ ton A/C with requested heating.






