APPLICATIONS

Security, entry ways, stairways, storage and perimeter areas, as well as residential exteriors. 

TYPICAL MOUNTING HEIGHT                              

 8 to 18 feet                                                       

	Catalog Number
	E-WW1X021Z5 [image: image1.wmf]

9041



	Description
	21W LED warm white

	Height
	9"

	Width
	5-3/4"

	Depth
	4"

	Weight (.lbs)
	2.54 

	Input Voltage
	120V

	Delivered Lumen Output
	1050 Lumens

	Beam Angle/Photometric Distribution
	Wide

	CCT
	3500K

	Comparable To
	100W Incandescent

	Lamp Type
	21W LED, Warm White

	Color Rendition
	80 CRI

	Minimum Starting Temperature
	-40° F


$79.95 EA+ FREIGHT

_1457206082.unknown

