TYPICAL MOUNTING HEIGHT

8 to 15 feet


	Catalog Number
	E-GL1F03C2W [image: image1.wmf]

8611



	Description
	38W LED Cool White

	Height
	8-1/2-in

	Width
	6-1/2-in

	Depth
	7-3/4-in

	Weight (.lbs)
	6.20 

	Input Voltage
	120V-277V

	Delivered Lumen Output
	2000 Delivered Lumens

	Beam Angle/Photometric Distribution
	40˚ Flood

	CCT
	5700K

	Comparable To
	70W PSMH

	Lamp Type
	38-Watt LED 

	Color Rendition
	73 CRI

	Minimum Starting Temperature
	-40° F


89.95 + FREIGHT

_1457205897.unknown

