	[image: image1.png]



	PROPOSAL

	GULF COAST ELECTRIC CO. LLC
Serving the Gulf Coast
	

	554 Old Spanish Trail, SLIDELL, LA 70458
Phone 985-649-5832 Fax 985-641-5950
gulfcoastelect@bellsouth.net
	      LA License 46737


	to
	Mr. Hugh’s
4958 Highway 22
Mandeville, La
985-869-5900  Fax 985-845-9605 
	RE: 



	DATE
	job#
	Location

	5/11/12
	
	


	item 
	
	description
	
	
	line total

	1
	
	Description: Install High Output fluorescent lights and 7 20Amp dedicated receptacles in 6 work stations. All power will be run in EMT pipe and lighting whips will be MC.
	
	
	

	2
	
	Install one 220V dryer circuit
	
	
	

	3
	
	Install 3 TV receptacles
	
	
	

	4
	
	
	
	
	

	5
	
	See attached diagram
	
	
	

	6
	
	Note the electrical panel installed is not large enough to provide the total number of lighting and 110V receptacle circuits requested. We will provide a panel with ample space with extra spaces to allow for growth.
	
	
	$10,121.85

	7
	
	If the panel cover for the existing panel can be located a savings will be seen and passed on to the owner.
	
	
	

	8
	
	Light fixtures to be provided by owner.
	
	
	

	9
	
	This does not include any additional work to the service exterior of the building.
	
	
	

	10
	
	
	
	
	

	11
	
	
	
	
	

	12
	
	
	
	
	

	Terms: due upon completion 
	
	

	
	
	

	Accepted by:
	Sales Tax
	

	Date:
	Total
	$10,121.85

	
	
	


Thank you for your business!







