## Sheet1
TEST RESULTS
1000 VOLT DC MEGGER - MEGAOHMS WITH 1,000 VOLT DC APPLIED
Description | Phase to Phase | Phase to Neutral | Phase to Ground
Jocky Pump MB to Controler | 4000 | 4000 | 4000
Jocky Pump Controler to Mtr | 4000 | n/a | 4000
Htr M Brk to Disc | 4000 | 4000 | 4000
Diesel Pump Brk to Controler | 4000 | 4000 | 4000
Exhast Fan 110V 1ph |  | 4000 | 4000
Receptacles 110V 1Ph |  | 4000 | 4000
Fire Pump Controler to Mtr |  | n/a
Gulf Coast Electric Co. LLC
Date