|  | # PCO #1 |
| --- | --- |
| GULF COAST ELECTRIC CO. LLC Serving the Gulf Coast |  |
| 554 Old Spanish Trail, SLIDELL, LA 70458 Phone 985-649-5832 Fax 985-641-5950 gulfcoastelect@bellsouth.net | LA License 46737 |

| ## to | MHM Service 6998 Memorial Parkway Huntsville, Alabama |  | RE: Water treatment plant feeder |
| --- | --- | --- | --- |
| DATE |  | job# | Location |
| 02/13/15 |  |  |  |

| item |  | description | HRS |  | RATE | line total |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Additional work required to tie in the new controller to motor controls not shown on drawings |  |  |  |  |
| 2 |  | Labor: Electrician Electrician Helper | 6 6 |  | 60 40 | $360.00 $240.00 |
| 3 |  |  |  |  |  |  |
| 4 |  | Material, 500’wire, J-box, Flex conduit, connectors, Unistrut, Unistrut conduit straps. |  |  |  | $200.00 |
| 5 |  | Cost includes material and labor. |  |  |  | $800.00 |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |
| TERMS: |  |  |  | Total |  | $800.00 |

___________________________________________                          ______________

Print Name							      Date

___________________________________________

Signature