	[image: image1.png]



	Proposal

	GULF COAST ELECTRIC CO. LLC
Serving the Gulf Coast
	

	554 Old Spanish Trail, SLIDELL, LA 70458
Phone 985-649-5832 Fax 985-641-5950
gulfcoastelect@bellsouth.net
	      LA License 46737


	to
	Ms. Patricia Turner
Bell Development Group
Poplarville, Ms 39470

601-795-7284


	RE: 350 Sun Valley Drive
      Slidell, La


	DATE
	job#
	Location

	5/10/12
	
	


	item 
	
	description
	
	
	line total

	1
	
	Repair lights on roof that light up tenant signs. Each sign has two fixtures with 8’ ballast. Total fixtures not operating is seven.
	
	
	

	2
	
	The problem with the electrical on the roof is that the junction boxes are rated for indoor use only. These are not rated for rain or water. The ballast for the lights that are for the tenant signs are mounted in these boxes. The boxes are rusted and rotted so the ballast get wet and short out. 
	
	
	

	3
	
	In addition there are conduits with wires hanging out that could be energized. These should be properly terminated to prevent electrical shock.
	
	
	$2,018.00

	4
	
	Please call me for more detail.
	
	
	

	5
	
	
	
	
	

	6
	
	This estimate is worse case actual cost will be determined.
	
	
	

	7
	
	Please review the attached photos of roof.
	
	
	

	8
	
	
	
	
	

	9
	
	
	
	
	

	10
	
	
	
	
	

	11
	
	
	
	
	

	12
	
	
	
	
	

	Terms: due upon completion 
	
	

	
	
	

	Accepted by:
	Sales Tax
	

	Date:
	Total
	$2,018.00

	
	
	


Thank you for your business!







