1	Pow-R-Line4
24 Circuits, 800A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,800A, MDL 3P Main Breaker[Top Fed], Surface Mounted

	1	800A, MDL 3P Main Breaker
	1	225A, 3P EDB Branch Breaker
	6	100A, 3P EHD Branch Breaker
	1	300A, 3P DK Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:BX3673
	1	Standard Covers

Quote Price:		$3,524.74
Designations: 	MDP

1	Pow-R-Line1a
Multi-Section Panel:2 Sections, 84 Circuits, 400A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,400A, Main Lugs Only[Top Fed], Surface Mounted

	2	400A, Main Lugs Only
	1	400A, Through-Feed Lugs
	3	30A, 2P BAB Branch Breaker
	1	100A, 3P BAB-H  Branch Breaker, w/ Shunt Trip
	6	1P BAB Branch Provision Only
	62	20A, 1P BAB Branch Breaker
	2	20A, 2P BAB Branch Breaker
	1	70A, 3P BAB-H  Branch Breaker
	2	Std. Bolted Al Ground Bar (Al/Cu Cable)
	2	Panel Nameplate - White with Black Letters
	2	Type 1 Enclosure:EZB2072R
	2	EZ Trim, Door in Door, Concealed Hardware:EZT2072S

Quote Price:		$1,032.33
Designations: 	KA

1	Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,225A, Main Lugs Only[Top Fed], Surface Mounted

	1	225A, Main Lugs Only
	3	1P BAB Branch Provision Only
	39	20A, 1P BAB Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2042R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2042S

Quote Price:		$372.78
Designations: 	LA

1	Pow-R-Line1a
30 Circuits, 100A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,100A, Main Lugs Only[Top Fed], Surface Mounted

	1	100A, Main Lugs Only
	3	20A, 3P BAB-H  Branch Breaker
	15	20A, 1P BAB Branch Breaker
	1	20A, 2P BAB Branch Breaker
	1	100A, 3P BAB-H  Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2036R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2036S

Quote Price:		$367.24
Designations: 	KB

1	Safety Switches
DH327NGK,
BE31B, 240 VAC, 800 Amps, 3-Pole, Fusible with Neutral, NEMA 1 Enclosure 

	1	Heavy Duty Switch - Fusible, 4-Wire, 240 VAC, 800 A, NEMA 1 (DH327NGK)

Quote Price:		$3,896.20
Designations: 	800a

6	Safety Switches
DG323NRB,
BE20A, 240 VAC, 100 Amps, 3-Pole, Fusible with Neutral, NEMA 3R Enclosure 

	1	General Duty Switch - Fusible, 4-Wire, 240 VAC, 100 A, NEMA 3R (DG323NRB)

Quote Price:		$912.62
Designations: 	100 a f n3r

Total Quote Price:	$10,105.91

All orders must be released for manufacture within 90 days of date of order entry.  If approval drawings are required, drawings must be returned approved for release within 60 days of mailing.  If drawings are not returned accordingly, and/or if shipment is delayed for any reason, the price of the order will increase by 1.0% per month or fraction there of for the time the shipment is delayed.