554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

July 15, 2015

Plans Reviewer

c/o DHH OPH Region IX

71128 Hwy 59, Suite 102-B

Abita Springs, Louisiana 70420

Re :	Southern Comfort Lounge

2209 Gause Blvd. East

Slidell, LA 70461

St. Tammany Parish

Attention Reviewer:

Submitted for your approval and permitting is an existing transient non-community water supply. This water supply has been in operation for over 20 years.  Attached for your review is:

- DHH Design Summary Package

- Contract with a registered Certified Operator

- Clerk of Court Property Ownership Documents

- Copy of Land Survey

- Copy DEQ LPDES Permit LAG533956

- Pump House Photo of Pump, Chlorinator, & Storage Tank

The Chlorine injection point shall be after the check valve but before the storage tank.  Chlorine residuals shall be monitored using a Hach Free Chlorine Test Kit, Model CN 66F Test Kit.  Flow meter shall be installed.

Respectfully,

Brian A. Mistich, P.E.

985-285-4564