March 15, 2005

Mr. Edwin Lee

Office of State Fire Marshal

8181 Independence Boulevard

Baton Rouge, LA 70806

RE: PO280317

      Causeway Blvd Church Of Christ

      3700 Hwy 59

      Mandeville, La. 70448-0000

Dear Mr. Lee,

The contractor/owner came and spoke to me today about the second floor access. There are two sets of exterior stairs to the second floor that will not be built.  Also, there are two doors accessing the second floor classrooms from the balcony that will be locked and not allowed access. The storage area that is next to the basketball court on the ground floor will be locked also as to not allow access.

The kitchen that was proposed had a stove with a commercial hood; this now will be a warming kitchen only with no means of cooking.

The local Fire Marshal asked us to get approval from you.

Any help in this matter would be greatly appreciated. Please call us with any questions.

Thank you,

Chuck Dammon 

V/P Project Manager 

