DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

December 22, 2010


   To: 
Mr. Kevin Johnson



Deputy Building Official-CBO


St. Tammany Parish Gov.


REF: El-Bethel Church  (Questionable soil)


Allen Rd.


Slidell, LA 70461

Dear Mr. Johnson,

This letter is in response to your email dated 12-7-10 regarding section 1802.2.1 Questionable Soil. 

Per IBC 2006 Chapter 18 “Soils and Foundations”, Section: 1804.2

Presumptive load-bearing values.

“The maximum allowable foundation pressure, lateral pressure or lateral sliding resistance values for supporting soils near the surface shall not exceed the values specified in Table 1804.2 unless data to substantiate the use of a higher value are submitted and approved...”

Dammon Engineering did not receive a soils analysis for this property and subsequently the  foundation for this project was based on an assumed soil bearing capacity of 2,000 lbs. per square foot as allowed by the code.


   Sincerely,


   Pete Dammon

Dammon Engineering

Attachments:

1. Table 1804.2

