Revision 1 – 12/19/07

Revised site plan to show parking on the inside of lot, moved building to corner, reversed the window in pastor office with the door.  

Revision 2 –2-1-08

E-1 Move panel board out of changing room, changed swing of door.  Changed service to 200 amp.  

M-2 Annotated required cfm from each register.  Provide AHU and CU details.  

