DAMMON ENGINEERING, INC.

dammonengineering.com

CONSULTING		DESIGN		STUDIES		EXPERT WITNESS

554 Old Spanish Trail			                 P.O. Box 2830				     985-649-5832

Slidell, LA 70458				Slidell, LA  70459			            FAX 985-641-5950

## March 5, 2012

To: 	Jay Pittman

St. Tammany Parish

Department of Engineering

21490 Koop Dr.

Mandeville, LA 70471

REF: Living the Word International Church

2528 Old Spanish Trail

Slidell, LA

Dear Mr. Pittman,

Here are the cut and fill calculations for this site.

Fill below B.F.E. = 20,000 ft x 1.5’ divided by 27 = 1,112 cu yd’s.

The existing crushed gravel on the Site shall be used as the base material for the concrete paving. There shall be no fill required for the concrete paved vehicular areas.

Sincerely,

Chuck Dammon

Dammon Engineering