554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

October 18, 2024

Re:  	1st Baptist Church Restroom Bldg Buoyancy Calcs

Assumptions :

Density of concrete = 150 #/ft3

Density of water (ρ)= 62.4 #/ft3

g  = 32.2 ft/s2

Estimate the weight of the building

The foundation weight is estimated :

14.47 s.f. x 16lf = 231.5 cu ft x 150 #/cu ft of CONCRETE = 34,728 #

+ 2.68 s.f x (16.25 x 3) = 130.65 cu ft x 150 #/cu ft of CONCRETE =19,597.5#

The weight of the CMU filled walls are estimated :

6.65 s.f. x (84.7-9 (doors)) lf = 503.4 cu ft x 150 #/cu ft of CONCRETE = 75,510.75#

The total weight of the concrete building is estimated :

34,728# + 19,597.5# + 75,510.75# = 129,836.25#

*************************************************************************

The formula for buoyancy :

Volume of the building below static water level (BFE) :

Natural Grade = 8.4 ft

BFE = 14.0 ft

Depth of building below BFE = 14 – 8.4 = 5.6 ft

Area of building = 16.25 x 16 = 260 ft2

Volume of displaced water = 260 ft2 x 5.6 ft = 1,456 ft3

Fb = - [62.4 #/ft3] x [32.2 ft/s2] x [1,456 ft3] = - (-) 2,925,511.68#

since the weight of the concrete bldg is less than the buoyancy force the bldg will float.

129,836.25# < 2,925,511.68#

Thank You,

David Dammon

Bill Kingsmill’s contact information is as follows:

William Kingsmill (kingsmillprop@bellsouth.net)

Cell: (504) 528 3838

1200 Business Highway 190, Suite 13

Covington, LA 70433

Lawrence Wm. Haik, Sr

Republic Commercial Properties, LLC

1539 Royal Palm Dr.

Slidell, LA 70458

(985) 960-7033