DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950


To: Kenny Wortmann, 


Date: 7-30-09


Re: Northshore Volunteer Fire Dept.


       Debbie Dr.


       St. Tammany Parish, LA

Mr. Wortmann,

The referenced site above sustained flood and wind damage during hurricane Katrina and is now being restored to its prior condition. The structural steel framing members, and foundation for this building remain in tact and no work will need to be done to these items. We believe that this meets the criteria for the project to qualify as a less than 50% damage restoration. 

The scope of work is to replace interior walls and finishes, electrical system, fire protection system, HVAC system, and plumbing system (by utilizing existing sewer lines in slab).

Thank you,

Brandon Nowakowski
