554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

July 21, 2014

Mr. Bradley R. Crain, P.E.

Department of Environmental Quality

Office of Pollution Control

P.O. Box 2261

Jackson Mississippi 39225-2261

Re: 	Dreamland Mobile Home Park

Pearl River County

Project No. 13815-PLA20140001

Mr. Crain,

In reference to the above captioned and your correspondence of June 11, 2014, the following information is presented for your consideration.

To address the items in your June 11th letter:

- The information form has been modified as per your requirements.  The revised information form is enclosed.

- Specifications for deflection testing and leakage testing of the proposed sewer lines are enclosed as well as specifications for waterproofing of the manholes.

- Specifications for the pump, pump controls, electrical requirements, and wet well dimensions and fencing security are provided.

- The force main shall be an SDR 17 HDPE pipe.  Testing procedures are provided in the submittal.

We appreciate your time and efforts to expedite this exceedingly overdue rehabilitation project.

Should you have any questions of if further information is required please feel free to contact me.

Respectfully,

Brian A. Mistich, P.E. #20971

985-285-4564 (cell)

Bill Kingsmill’s contact information is as follows:

William Kingsmill (kingsmillprop@bellsouth.net)

Cell: (504) 528 3838

1200 Business Highway 190, Suite 13

Covington, LA 70433

Lawrence Wm. Haik, Sr

Republic Commercial Properties, LLC

1539 Royal Palm Dr.

Slidell, LA 70458

(985) 960-7033