554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

5/27/2020

Mr. Eric Brown

Louisiana Department of Health

42354 Club Deluxe Road

Suite 13

Hammond, LA 70403

Re: Country Club Mobile Home Park (CCMHP)

Pump Station Rehabilitation and Reconnection to Resolve Wastewater Treatment Facilities

St. Tammany Parish

Mr. Brown,

This project is a rehabilitation of an existing pump station.  The current wastewater pumps at the Country Club Mobile Home Park lift station shall be removed and replaced with two Barnes Model SGV3022L grinder pumps along with two slide rail systems.  New electrical control panels float control switches, and appurtenances shall also be installed.

The proposed 3” HDPE force main line from the grinder pumps shall be located inside an existing 6” force main line (that is no longer in commission) and then connected to an active force main line that interconnects with the Whisperwood Wastewater Treatment Facility (DEQ WP1046, NPDES LA005351).

CCMHP shall abandon an existing 25,000 gpd Extended Air Wastewater Treatment Plant that is on the CCMHP property.

The treatment plant shall be slowly dewatered, sludge shall be removed by a licensed hauler, and remaining plant shall be dismantled and removed.  All in accord with Department of Environmental Quality guidelines to insure environmental integrity and standards.

Should you have any questions, or if further information is required concerning this project, please feel free to contact me.

Respectfully,

Brian A. Mistich, P.E.