554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

February 21, 2014

Greg Gorden

Department of Environmental Services

St. Tammany Parish Government

P.O. Box 628

Covington, La. 70434

RE: Response to Official Notice of Deficient Condition

Square 92, 89 & 69 & Square 75.

Slidell, La.

Dear Mr. Gorden,

On behalf of Gus & Ralph Mitchell, we are pleased to provide you with a design time and construction time to be in compliance with Sec.40-085.0 Mobile Home Parks (Non-conforming) and Outdoor Contractors Storage Yards Section 8.01 K for the squares as listed above.

Square 69 has been surveyed and a design of the fence and treatment plant area has been established. Please see the attached pdf.

Square 89 & 92 are currently being surveyed to show all the improvements and to layout the requirements as set forth in Sec. 40-085.0 & Section 8.01 K.

Square 75 will have a survey conducted on it to show all improvements necessary for the planning department to evaluate.

We are working with J.V. Burkes to provide the survey and Dammon Engineering to provide layout as required in the sections as stated above. We are also working with two sewer treatment plant companies for options to bring these properties up to code.

We are looking at a design time to be completed by May 16th 2014 by which the proposed use plan will be submitted to the Dept. of Development. Once the proposed use plan is approved they will follow the next steps listed in the deficient condition letter.

Sincerely,

Chuck Dammon

We confirm and attest to the above cause of action.

Gus Mitchell

Ralph Mitchell