Carl J. Lamarque

244 Clara Drive

Slidell, LA 70458

Phone 504-256-1363

Fax 504-285-0199

Email lamarquecarl@gmail.com

244 Clara Drive Bulkhead, Boathouse and Dock Project

Started May 9, 2017 and completed May 24, 2017.  All work was performed by Gill Crane and Dozer.

Total cost of project is $41,000.  This does not include cost of permits and drawings.

St. Tammany Parish Permit # 2017-33790 was filed on May 8, 2017 and is being processed as of May 30, 2017.

Coastal Use Permit # P20170461 was mailed on May 12, 2017 using USPS Priority Mail and is being processed as of May 30, 2017.

Bulkhead

Bulkhead is 75 linear feet of Series 425 Shoreguard ™ 12’ length vinyl sheet pilings.

There is 2’ between old wooden bulkhead and new vinyl bulkhead.  Pea gravel was used as fill between old wooden and new vinyl bulkhead.  1 load of sand was used as backfill to fill holes caused by erosion.

9’ from back of house to edge of new bulkhead.

(12) 20’ x 8” pilings were driven vertically. (4) 30’ x 9” were driven vertically to accommodate boathouse.  A total of 16 pilings were driven vertically on the outside of the new bulkhead to support the vinyl bulkhead.  All connections were made using ¾” galvanized steel bolts.

3 vertical pilings are supported by 10’ x 8” deadmen pilings set back 9’ and held by 3/4” galvanized steel tie back rods.

5 vertical pilings are supported by 10’ x 8” deadmen pilings set back 7’ and held by ¾” galvanized steel tie back rods.  These 5 deadmen pilings are connected together by a 20’ x 8” horizontal deadmen piling using ¾” galvanized steel bolts.

8 vertical pilings are supported by 20” x 8” batter pilings driven at an angle into the canal and connected to vertical pilings using ¾” galvanized steel bolts.

All pilings in the water are vinyl wrapped.

Top whaler board is 4” x 6” treated lumber and is connected to bulkhead using ¾” galvanized steel bolts.

Bottom whaler board (at water level) is 4” x 6” treated lumber that is vinyl coated and is connected to bulkhead using ¾” galvanized steel tie back rods.

Bulkhead was capped by 4” of concrete.

Water depth at the bulkhead is approximately 4’ at normal tide.  Top of concrete is approximately 5’ 10” above sea level.

Boathouse

Boathouse is 26’ 6” long by 11’ 4” wide and contains a 2’ wide finger pier on outside. Finger pier is supported by (2) 2” x 6” treated lumber.  One on outside of piling and one on inside of piling.  Supports are bolted to pilings using ¾” galvanized steel bolts.  2” x 6” treated lumber is used for decking and is nailed to support using galvanized steel nails.

Boathouse was built using (8) 30’ x 9” pilings. 4 inside pilings are also part of bulkhead support. Pilings extend 11’ from top of concrete to top of piling.All boathouse pilings are vinyl wrapped.

Roof is hip roof with shingles. Main roof structure is 2” x 12” treated lumber, doubled.  (2) 2” x 12” treated lumber cross beams arealso doubled in center of boathouse to support boatlift and boat and (8) ½’ aluminum supports are used to also support extra weight of boatlift and boat.  All connections are made using ¾” galvanized steel bolts.  Remainder of roof is constructed using 2” x 6” treated lumber and ½” treated plywood connected using galvanized steel nails.  Roof overhang on all sides is 1’.  From top of pilings to highest point of roof is 26”.  From end of boathouse roof to existing house is 1’.

Boathouse contains a 6,500 lb boatlift with straps.

Dock

Dock extends 11’ 2” into the canal and is 17’ 4” wide.  (2) 20’ x 8” vinyl wrapped pilings were driven on outside part of dock.  There were already 3 existing pilings in place.  Those 3 pilings also support the back part of my house that extends into the canal.  The existing pilings were already wrapped in concrete and vinyl to above the water line.

Structure of dock is 2” x 8” treated lumber bolted through the pilings using ¾” galvanized steel bolts.  Decking is 2” x 6” treated lumber nailed to structure using galvanized steel nails.

Old dock was dismantled in order to allow for construction of new bulkhead.